## Fuel Type Comparison
Financial Assumptions:
| Coal | Renewables
Inflation Rate | 2.5% | 2.5%
Economic Lifetime (Years) | 20 | 20
Interest Rate - Nominal | 8% | 8%
Calculated Interest Rate - Real | 5.366% | 5.366%
Interest During Construction - Nominal | 8% | 8%
Rate of Return on Equity - Nominal | 13% | 13%
Calculated Rate of Return on Equity - Real | 10.24% | 10.24%
Debt Fraction | 60% | 60%
Tax Rate (Federal and State) | 40% | 40%
WACC - Nominal | 8.08% | 8.08%
WACC - Real | 5.444% | 5.444%
Depreciation Period | 20 | 5
Construction Finance Factor | 1.1609 | 1.0389
Present Value of Depreciation | 0.5034 | 0.80974
Project Finance Factor | 1.3311 | 1.1268
Capital Recovery Factor (CRF) - Nominal | 10.25% | 10.25%
Capital Recovery Factor (CRF) - Real | 8.329% | 8.329%
Construction Assumptions
Construction Duration yrs | 6 |  | 3
Year | Capital | Accumulated | Capital | Accumulated
Index | Fraction* | Interest | Fraction* | Interest
0 | 10% | 1.0235 | 80% | 1.0235
1 | 20% | 1.0734 | 10% | 1.0734
2 | 20% | 1.1273 | 10% | 1.1273
3 | 20% | 1.1855
4 | 20% | 1.2483
5 | 10% | 1.3162
Depreciation Assumptions
Thermal
MACRS yr | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Depreciation | 0.0375 | 0.07219 | 0.06677 | 0.06177 | 0.05713 | 0.05285 | 0.04888 | 0.04522 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.04462 | 0.04461 | 0.02231
Fraction
Depreciation | 0.92524 | 0.85607 | 0.79207 | 0.73286 | 0.67807 | 0.62738 | 0.58047 | 0.53708 | 0.49693 | 0.45978 | 0.4254 | 0.3936 | 0.36418 | 0.33695 | 0.31176 | 0.28845 | 0.26689 | 0.24694 | 0.22847 | 0.21139 | 0.19559
Factor
Renewable
MACRS yr | 1 | 2 | 3 | 4 | 5 | 6
Depreciation | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
Fraction
Depreciation | 0.92524 | 0.85607 | 0.79207 | 0.73286 | 0.67807 | 0.62738
Factor
LCOE Calculations
USC Unit (EIA) |  |  |  | 90% CCS USC Unit (EIA) |  |  |  | Unsubsidized Onshore Wind |  |  |  | Unsubsidized Utility Scale Solar PV - Tracking
3636000 | Overnight Capital Cost | $/MW |  | 5569000 | Overnight Capital Cost | $/MW |  | 1690000 | Overnight Capital Cost | $/MW |  | 1373690.3376 | Overnight Capital Cost | $/MW
42100 | Fixed O&M Cost | $/MW-year |  | 80530 | Fixed O&M Cost | $/MW-year |  | 39700 | Fixed O&M Cost | $/MW-year |  | 21800 | Fixed O&M Cost | $/MW-year
4.6 | Variable O&M Cost | $/MWh |  | 9.51 | Variable O&M Cost | $/MWh |  | 0 | Variable O&M Cost | $/MWh |  | 0 | Variable O&M Cost | $/MWh
2.2 | Fuel Price | $/MMBtu |  | 2.2 | Fuel Price | $/MMBtu |  | 0 | Fuel Price | $/MMBtu |  | 0 | Fuel Price | $/MMBtu
8800 | Heat Rate | btu/kWh |  | 11650 | Heat Rate | btu/kWh |  | 0 | Heat Rate | btu/kWh |  | 0 | Heat Rate | btu/kWh
85% | Capacity Factor | % |  | 85% | Capacity Factor | % |  | 40% | Capacity Factor | % |  | 25% | Capacity Factor | %
92.4604 | Levelized Cost | $/MWh |  | 142.2124 | Levelized Cost | $/MWh |  | 58.3575 | Levelized Cost | $/MWh |  | 71.1154 | Levelized Cost | $/MWh
Sources:
1) Methdology, Financial Assumptions, Construction Assumptions, and Depreciation Assumptions: NREL, 2016 Annual Technology Baseline, http://www.nrel.gov/docs/fy16osti/66944-DA.xlsm
2) Coal USC Capital Costs, O&M Costs, and Heat Rate: EIA, Capital Cost Estimates for Utility Scale Electricity Generating Plants, 2016, Table 1, https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capcost_assumption.pdf
3) Coal 90% CCS USC Capital Costs, O&M Costs, and Heat Rate: EIA, Addendum: Capital Cost Estimates for Additional Utility Scale Electric Generating Plants, April 2017, Table 1, https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/eiatasks_10388_10687addendum.pdf
4) Onshore Wind Capital Costs: DoE, 2015 Wind Technologies Market Report, Cost Trends, p.53, https://energy.gov/sites/prod/files/2016/08/f33/2015-Wind-Technologies-Market-Report-08162016.pdf
5) Utility Scale Solar PV - Tracking Capital Costs: SEIA, Solar Market Insight Report 2016 Year in Review, National Solar PV System Pricing, http://www.seia.org/research-resources/solar-market-insight-report-2016-year-review
6) Utility Scale Solar PV - Tracking DC-to-AC Derate Factor: The Brattle Group, Comparative Generation Costs of Utility-Scale and Residential-Scale PV in Xcel Energy Colorado's Service Area, 2015, p.70, http://brattle.com/system/publications/pdfs/000/005/188/original/Comparative_Generation_Costs_of_Utility-Scale_and_Residential-Scale_PV_in_Xcel_Energy_Colorado's_Service_Area.pdf
7) Onshore Wind and Utility Scale Solar PV - Tracking Fixed O&M Costs: EIA, Capital Cost Estimates for Utility Scale Electricity Generating Plants, 2016, Table 1, https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/capcost_assumption.pdf
8) Coal Fuel Price: EIA Annual Energy Outlook 2017
9) Capacity Factors: EIA, Levelized Cost and Levelized Avoided Cost of New Generation Resources in the Annual Energy Outlook 2016, 2016, Table 1b, https://www.eia.gov/outlooks/aeo/pdf/electricity_generation.pdf
Notes:
1) To calculate the LCOE, we use NREL's methdology and financial, construction, and depreciation assumptions from the 2016 Annual Technology Baseline.
2) We use non EIA data for onshore wind and solar PV to reflect the most up-to-date costs based on real-world installations.
3) Calculations use the most current data, as of May 1, 2017, when this analysis was conducted.

## Transport and Storage
90% CCS Plant
650 | Average plant size | MW
0.0927 | CO2 Capture Rate | t CO2/MMBtu
85% | Plant Capacity Factor | %
11650 | Plant Heat Rate | btu/kWh
56384835 | Annual Heat Input | MMBtu
5.2269 | Annual CO2 Mass Flow Rate | MMt CO2/year
2 | Transportation Costs | ($/ton CO2)/250km
500 | Average Transport Distance | km
20907496.818 | Annual Transport Costs | $
4.25 | Average Storage Costs | $/ton CO2
22214215.3691 | Annual Storage Costs | $
0.2 | Average Monitoring Costs | $/ton CO2
1045374.8409 | Annual Monitoring Costs | $
44167087.028 | Total Annual Costs | $
9.1256 | Levelized Costs | $/MWh
Sources:
1) Average Plant Size, Capture Rate, Capacity Factor, and Heat Rate: Capital Cost Estimates for Additional Utility Scale Electric Generating Plants, April 2017, Table 1 and Table 2-1, https://www.eia.gov/analysis/studies/powerplants/capitalcost/pdf/eiatasks_10388_10687addendum.pdf
2) Transport Costs per Unit Distance, Average Storage Costs per Unit CO2, and Average Monitoring Costs per Unit CO2: IEA, Carbon Dioxide Capture and Storage, 2005, Figure 8.1 and Table 8.2, https://www.ipcc.ch/pdf/special-reports/srccs/srccs_wholereport.pdf
Notes:
1) We assume 500 km transport distance.
2) We assume transport will occur on land in the easiest terrain, i.e., the lowest possible transport cost per unit CO2.

## Comparison Table
Metric | Unit | Ultrasupercritical Coal | Ultrasupercritical Coal with 90% CCS | Onshore Wind | Solar PV
Overnight Capital Cost | $/MW | 3636000 | 5569000 | 1690000 | 1373690.3376
Fixed O&M Cost | $/MW-year | 42100 | 80530 | 39700 | 21800
Variable O&M Cost | $/MWh | 4.6 | 9.51 | 0 | 0
Fuel Price | $/MMBtu | 2.2 | 2.2 | 0 | 0
Heat Rate | btu/kWh | 8800 | 11650 | 0 | 0
Capacity Factor | % | 0.85 | 0.85 | 0.4 | 0.25
CO2 Transport & Storage | $/MWh | 0 | 9.1256 | 0 | 0
Levelized Cost | $/MWh | 92.4604 | 151.338 | 58.3575 | 71.1154